## Slide 1
WeatherFile
ConstructionDataset
SimpleWindow
Material
AirGapMaterial
Construction
Surface
SurfaceInternalMass
ThermalZone
Schedule
InternalLoad
People
ElectricLoad
Lights
SetpointDualBand
Setpoint
Ventilation
MechanicalVentilation
NaturalVentilation
AirHandlingUnit

## Slide 2
WeatherFile
__init__(epw file, …) irradiances_calculation()
ConstructionDataset
__init__() read_excel(file.xlsx)
SimpleWindow
__init__(U, SHGC) simpleGlazingModel()
Material
__init__(t,c,l,….) calc_capacity() calc_resistance() calc_params()
AirGapMaterial
__init__(t,R.)
Construction
__init__(name, [mat1,mat2,..], type) _ISO13790_params() _VDI6007_params()
Surface
__init__(name,[v1,v2,v3,..], wwr,construction,…) _set_azimuth_and_zenith () _calc_glazed_opaque_areas() _set_azimuth_and_zenith_solar_radiation() _set_auto_surface_type() _get_VDI_params(asim) _get_surface_external_radiative_coefficient()
SurfaceInternalMass
__init__(name, area, type,…) _get_VDI_params(asim)
ThermalZone
__init__(name,[surf1,surf2,…], floor_area, volume) add_temperature_setpoint() add_humidity_setpoint () add_internal_load() extract_convective_radiative_latent_load () add_natural_ventilation () extract_natural_ventilation () _ ISO13790_params () _ VDI6007_params () calculate_zone_loads_ISO13790 (Weather) calculate_zone_loads_VDI6007 (Weather) sensible_balance_1C(…….) sensible_balance_2C(…….) latent_balance(…….) reset_init_values() Solve_timestep()
Schedule
__init__(name, type, array, limits,…) From_daily_schedule() From_constant_value()
InternalLoad
__init__(name, nominal_value, Schedule) Get_loads()
People
__init__(name, nominal_value, Schedule, f_lat,f_rad, f_conv)
ElectricLoad
__init__(name, nominal_value, Schedule, f_lat,f_rad, f_conv)
Lights
__init__(name, nominal_value, Schedule, f_lat,f_rad, f_conv)
SetpointDualBand
__init__(name, type, Schedule_lower, Schedule_upper, f_lat,f_rad, f_conv)
Setpoint
__init__(type)
Ventialtion
__init__(name, unit, type, Nominal_value, Schedule,) Get_flow_rate()
NaturalVentilation
__init__(name, unit, type, Nominal_value, Schedule,) Get_flow_rate()
MechanicalVentilation
__init__(name, unit, type, Nominal_value, Schedule,) Get_flow_rate()
AirHandlingUnit
__init__(MechanicalVentilation, supply_temeprature, supply_specific_humidity, operation, ……) Air_handling_unit_calc